## 1R MDC (4 Configs) BOM
SOLUTION 1 (3.5 kw Cooling W/o Dehumidifier) |  |  |  |  | SOLUTION 3 (7 kw Cooling W/o Dehumidifier)
PART NUMBER | DESCRIPTION | QTY | UOM |  | PART NUMBER | DESCRIPTION | QTY | UOM
CTO3M002 | SINGLE RACK MDC, 3.5kW Cooling Unit, Without Dehumidifier | 1 | EA |  | CTO3M002 | SINGLE RACK MDC, 7kW Cooling Unit, Without Dehumidifier | 1 | EA
801029209 | MDC,42U 8*14 1R,INRACK7KW,EFSS | 1 |  | 309736.1296 | 801029209 | MDC,42U 8*14 1R,INRACK7KW,EFSS | 1 |  | 309736.1296
| FRAME,42U-800X1200X2100 Front Glass Door , and rear sheet steel dual Spilt Door | 1 | EA | #N/A |  | FRAME,42U-800X1200X2100 Front Glass Door , and rear sheet steel dual Spilt Door | 1 | EA | #N/A
| FRONT DOOR WITH ELECTRONIC HANDLE WITH BIOMETRIC LOCK | 1 | EA | #N/A |  | FRONT DOOR WITH ELECTRONIC HANDLE WITH BIOMETRIC LOCK | 1 | EA | #N/A
| REAR ELECTRONIC LOCK WITH EMERGENCY HIGH TEMPERATURE REAR DOOR OPENING | 1 | EA | #N/A |  | REAR ELECTRONIC LOCK WITH EMERGENCY HIGH TEMPERATURE REAR DOOR OPENING | 1 | EA | #N/A
| POWER DISTRIBUTION MODULE | 1 | EA | #N/A |  | POWER DISTRIBUTION MODULE | 1 | EA | #N/A
| 1 U SMART RACK MONITORING SYSTEM INTEGRATED WITH SMS, EMAIL - 1 NO. | 1 | EA | #N/A |  | 1 U SMART RACK MONITORING SYSTEM INTEGRATED WITH SMS, EMAIL - 1 NO. | 1 | EA | #N/A
| TEMPERATURE SENSOR | 2 | EA | #N/A |  | TEMPERATURE SENSOR | 2 | EA | #N/A
| TEMPERATURE AND HUMIDITY SENSOR | 1 | EA | #N/A |  | TEMPERATURE AND HUMIDITY SENSOR | 1 | EA | #N/A
| WLD SENSOR CABLE | 1 | EA | #N/A |  | WLD SENSOR CABLE | 1 | EA | #N/A
| RODENT REPELLENT SYSTEM | 1 | EA | #N/A |  | RODENT REPELLENT SYSTEM | 1 | EA | #N/A
| 7” HMI DISPLAY | 1 | EA | #N/A |  | 7” HMI DISPLAY | 1 | EA | #N/A
| LED LIGHT, 12V LOGIC CONTROL | 1 | EA | #N/A |  | LED LIGHT, 12V LOGIC CONTROL | 1 | EA | #N/A
| NORMAL LIGHTS WITH DOOR LIMIT SWITCH | 1 | EA | #N/A |  | NORMAL LIGHTS WITH DOOR LIMIT SWITCH | 1 | EA | #N/A
| BEACON ALARM, 12V, 108DB | 1 | EA | #N/A |  | BEACON ALARM, 12V, 108DB | 1 | EA | #N/A
| BLANKING PANEL 1U | 20 | EA | #N/A |  | BLANKING PANEL 1U | 20 | EA | #N/A
| MOUNTING HARDWARE PACK OF 20 | 4 | EA | #N/A |  | MOUNTING HARDWARE PACK OF 20 | 4 | EA | #N/A
| SMOKE DETECTOR | 1 | EA | #N/A |  | SMOKE DETECTOR | 1 | EA | #N/A
| FULL TRAY | 1 | EA | #N/A |  | FULL TRAY | 1 | EA | #N/A
801401725 | PAC, 3.5KW INVERTER RACK MNT WF ID | 1 | EA | 48410 | 801401727 | PAC, 7KW INVERTER RACK MNT WF ID | 1 | EA | 60873
801401726 | PAC, 3.5KW INVERTER RACK MNT WF OD | 1 | EA | 50470 | 801401728 | PAC, 7KW INVERTER RACK MNT WF OD | 1 | EA | 73542
801401745 | PAC, 3.5KW INV RACK MNT WF CONTROLLER | 1 | EA | 43260 | 801401746 | PAC, 7KW INV RACK MNT WF CONTROLLER | 1 | EA | 43260
SOLUTION 2 (3.5 kw Cooling With Dehumidifier) |  |  |  |  | SOLUTION 4 (7 kw Cooling With Dehumidifier)
PART NUMBER | DESCRIPTION | QTY | UOM |  | PART NUMBER | DESCRIPTION | QTY | UOM
CTO3M002 | SINGLE RACK MDC, 7kW Cooling Unit, Dehumidifier | 1 | EA |  | CTO3M002 | SINGLE RACK MDC, 7kW Cooling Unit, Dehumidifier | 1 | EA
801029209 | MDC,42U 8*14 1R,INRACK7KW,EFSS | 1 |  | 309736.1296 | 801029209 | MDC,42U 8*14 1R,INRACK7KW,EFSS | 1 |  | 309736.1296
801029209 | FRAME,42U-800X1200X2100 Front Glass Door , and rear sheet steel dual Spilt Door | 1 | EA | 309736.1296 | 801029209 | FRAME,42U-800X1200X2100 Front Glass Door , and rear sheet steel dual Spilt Door | 1 | EA | 309736.1296
| FRONT DOOR WITH ELECTRONIC HANDLE WITH BIOMETRIC LOCK | 1 | EA | #N/A |  | FRONT DOOR WITH ELECTRONIC HANDLE WITH BIOMETRIC LOCK | 1 | EA | #N/A
| REAR ELECTRONIC LOCK WITH EMERGENCY HIGH TEMPERATURE REAR DOOR OPENING | 1 | EA | #N/A |  | REAR ELECTRONIC LOCK WITH EMERGENCY HIGH TEMPERATURE REAR DOOR OPENING | 1 | EA | #N/A
| POWER DISTRIBUTION MODULE | 1 | EA | #N/A |  | POWER DISTRIBUTION MODULE | 1 | EA | #N/A
| 1 U SMART RACK MONITORING SYSTEM INTEGRATED WITH SMS, EMAIL - 1 NO. | 1 | EA | #N/A |  | 1 U SMART RACK MONITORING SYSTEM INTEGRATED WITH SMS, EMAIL - 1 NO. | 1 | EA | #N/A
| TEMPERATURE SENSOR | 2 | EA | #N/A |  | TEMPERATURE SENSOR | 2 | EA | #N/A
| TEMPERATURE AND HUMIDITY SENSOR | 1 | EA | #N/A |  | TEMPERATURE AND HUMIDITY SENSOR | 1 | EA | #N/A
| WLD SENSOR CABLE | 1 | EA | #N/A |  | WLD SENSOR CABLE | 1 | EA | #N/A
| RODENT REPELLENT SYSTEM | 1 | EA | #N/A |  | RODENT REPELLENT SYSTEM | 1 | EA | #N/A
| 7” HMI DISPLAY | 1 | EA | #N/A |  | 7” HMI DISPLAY | 1 | EA | #N/A
| LED LIGHT, 12V LOGIC CONTROL | 1 | EA | #N/A |  | LED LIGHT, 12V LOGIC CONTROL | 1 | EA | #N/A
| NORMAL LIGHTS WITH DOOR LIMIT SWITCH | 1 | EA | #N/A |  | NORMAL LIGHTS WITH DOOR LIMIT SWITCH | 1 | EA | #N/A
| BEACON ALARM, 12V, 108DB | 1 | EA | #N/A |  | BEACON ALARM, 12V, 108DB | 1 | EA | #N/A
| BLANKING PANEL 1U | 20 | EA | #N/A |  | BLANKING PANEL 1U | 20 | EA | #N/A
| MOUNTING HARDWARE PACK OF 20 | 4 | EA | #N/A |  | MOUNTING HARDWARE PACK OF 20 | 4 | EA | #N/A
| SMOKE DETECTOR | 1 | EA | #N/A |  | SMOKE DETECTOR | 1 | EA | #N/A
| FULL TRAY | 1 | EA | #N/A |  | FULL TRAY | 1 | EA | #N/A
801401701 | PAC, 3.5KW INVERTER RACK MNT ATM ID | 1 | EA | 49288.0787 | 801401707 | PAC, 8.6KW INV RACK MNT ATM S-007KAH | 1 | EA | 178684.0037
801401702 | PAC, 3.5KW INVERTER RACK MNT ATM OD | 1 | EA | 82460.4915 | 801401708 | PAC, 12KW INV RACK MNT ATM OD KSF12AC | 1 | EA | 131395.6747
801401703 | PAC, 3.5/7KW INVERTER RACK MNT ATM HMI | 1 | EA | 19527.0241 | 801401703 | PAC, 3.5/7KW INVERTER RACK MNT ATM HMI | 1 | EA | 19527.0241
OTHER OPTIONAL ITEMS (TO BE INCLUDED AS PER NEED BASIS)
801073203 | FIRE SUPR EXT42U 8X14,1 RACK SOLN (EXTERNAL TYPE) | 1 | EA | 173050
HRD-XH1C | FIRE SUPPRESS,RACK MNT FK-5-1-12,1.5m³ | 1 | EA | 175484.75
801303201 | CAMERA,4MP VANDAL(CP-UNC-VC41L5C-VMD-LQ) | 1 | EA | 5198
801303202 | CAMERA,NVR 4 CHA INT(CP-UNR-4K4082-V4) | 1 | EA | 4410
801303204 | CAMERA,POE GB 4P,2UP(CP-DNW-GPU4G2-48C) | 1 | EA | 2940
801303206 | CAMERA,CAT 5 CABLE RJ45 TER | 1 | EA | 57.2
801303208 | CAMERA,SVR HDD 1TB | 1 | EA | 7384
801303203 | CAMERA,SVR HDD 4TB | 1 | EA | 8610
801223664 | Rotating Keyboard tray | 1 | EA | 2920.4
801075237 | 1 U CABLE MANAGER PLASTIC | 1 | EA | 396.34
801029022 | MDC,42U TOP CABLE TRAY IT | 1 | EA | 6832.4907
801075235 | BRUSH PANEL 1 U | 1 | EA | 1147.3
Single Phase PDU'S Based on Selections |  | C13 | C19 | TYPE
802001004 | B-PDU,ZU 20,32A 1P IEC309 20,0 230/230V | 20 | 0 | BASIC | 5726.07
802001005 | B-PDU,ZU 30,32A 1P IEC309 24,6 230/230V | 24 | 6 |  | 7160.195
802001006 | B-PDU,ZU 42,32A 1P IEC309 36,6 230/230V | 36 | 6 |  | 8286.635
802001014 | B-PDU,ZU 12,16A 1P IEC309 9,3 230/230V | 9 | 3 |  | 4350
802002003 | M-PDU,ZU 24,16A 1P IEC309 20,4 230/230V | 20 | 4 | METERED | 17140.662
802002005 | M-PDU,ZU 24,32A 1P IEC309 20,4 230/230V | 20 | 4 |  | 17933.342
802002006 | M-PDU,ZU 34,32A 1P IEC309 28,6 230/230V | 28 | 6 |  | 19635.518
802002007 | M-PDU,ZU 42,32A 1P IEC309 36,6 230/230V | 36 | 6 |  | 20885.032
802002012 | M-PDU,ZU 34,32A 1P IEC309 28,6 230/230 W | 28 | 6 |  | 20296.78
801601216 | S-PDU ,ZU42,32A 1P IEC309 36,6 230/230V | 36 | 6 | SWITCHED | 51061
802003002 | S-PDU,ZU 16,16A 1P C20 12,4 230/230V | 12 | 4 |  | 25881.002
802003004 | S-PDU,ZU 24,16A 1P IEC309 20,4 230/230V | 20 | 4 |  | 31328.591
802003006 | S-PDU,ZU 24,32A 1P IEC309 20,4 230/400V | 20 | 4 |  | 32578.105
802003007 | S-PDU,ZU 32,32A 1P IEC309 24,8 230/230V | 24 | 8 |  | 37568.86
802003008 | S-PDU,ZU 44,32A 1P IEC309 34,6 230/230V | 34 | 6 |  | 39093.885