## Configurations
MDC Type | Configuration | Configuration Title | Base Cost | Status
Single Rack | Configuration 1 | SOLUTION 1 (3.5 kW Cooling W/o Dehumidifier) | 451876.1296 | REAL DATA
Single Rack | Configuration 2 | SOLUTION 2 (3.5 kW Cooling With Dehumidifier) | 770747.8535 | REAL DATA
Single Rack | Configuration 3 | SOLUTION 3 (7 kW Cooling W/o Dehumidifier) | 487411.1296 | REAL DATA
Single Rack | Configuration 4 | SOLUTION 4 (7 kW Cooling With Dehumidifier) | 949078.9617 | REAL DATA
Multirack | Configuration 1 | XXX - Multirack Configuration 1 (Future Data) |  | XXX - TO BE UPDATED
Multirack | Configuration 2 | XXX - Multirack Configuration 2 (Future Data) |  | XXX - TO BE UPDATED
Multirack | Configuration 3 | XXX - Multirack Configuration 3 (Future Data) |  | XXX - TO BE UPDATED
Multirack | Configuration 4 | XXX - Multirack Configuration 4 (Future Data) |  | XXX - TO BE UPDATED
Multirack | Configuration 5 | XXX - Multirack Configuration 5 (Future Data) |  | XXX - TO BE UPDATED
Multirack | Configuration 6 | XXX - Multirack Configuration 6 (Future Data) |  | XXX - TO BE UPDATED
Multirack | Configuration 7 | XXX - Multirack Configuration 7 (Future Data) |  | XXX - TO BE UPDATED
Multirack | Configuration 8 | XXX - Multirack Configuration 8 (Future Data) |  | XXX - TO BE UPDATED
Multirack | Configuration 9 | XXX - Multirack Configuration 9 (Future Data) |  | XXX - TO BE UPDATED

## Components
Part Code | Description | Quantity | UOM | Unit Cost | MDC Type | Configuration | Pricing Status
CTO3M002 | SINGLE RACK MDC, 3.5kW Cooling Unit, Without Dehumidifier | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
801029209 | MDC,42U 8*14 1R,INRACK7KW,EFSS | 1 | EA | 309736.1296 | Single Rack | Configuration 1 | Priced
| FRAME,42U-800X1200X2100 Front Glass Door , and rear sheet steel dual Spilt Door | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| FRONT DOOR WITH ELECTRONIC HANDLE WITH BIOMETRIC LOCK | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| REAR ELECTRONIC LOCK WITH EMERGENCY HIGH TEMPERATURE REAR DOOR OPENING | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| POWER DISTRIBUTION MODULE | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| 1 U SMART RACK MONITORING SYSTEM INTEGRATED WITH SMS, EMAIL - 1 NO. | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| TEMPERATURE SENSOR | 2 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| TEMPERATURE AND HUMIDITY SENSOR | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| WLD SENSOR CABLE | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| RODENT REPELLENT SYSTEM | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| 7” HMI DISPLAY | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| LED LIGHT, 12V LOGIC CONTROL | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| NORMAL LIGHTS WITH DOOR LIMIT SWITCH | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| BEACON ALARM, 12V, 108DB | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| BLANKING PANEL 1U | 20 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| MOUNTING HARDWARE PACK OF 20 | 4 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| SMOKE DETECTOR | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
| FULL TRAY | 1 | EA |  | Single Rack | Configuration 1 | Price not supplied in source
801401725 | PAC, 3.5KW INVERTER RACK MNT WF ID | 1 | EA | 48410 | Single Rack | Configuration 1 | Priced
801401726 | PAC, 3.5KW INVERTER RACK MNT WF OD | 1 | EA | 50470 | Single Rack | Configuration 1 | Priced
801401745 | PAC, 3.5KW INV RACK MNT WF CONTROLLER | 1 | EA | 43260 | Single Rack | Configuration 1 | Priced
CTO3M002 | SINGLE RACK MDC, 7kW Cooling Unit, Dehumidifier | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
801029209 | MDC,42U 8*14 1R,INRACK7KW,EFSS | 1 | EA | 309736.1296 | Single Rack | Configuration 2 | Priced
801029209 | FRAME,42U-800X1200X2100 Front Glass Door , and rear sheet steel dual Spilt Door | 1 | EA | 309736.1296 | Single Rack | Configuration 2 | Priced
| FRONT DOOR WITH ELECTRONIC HANDLE WITH BIOMETRIC LOCK | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| REAR ELECTRONIC LOCK WITH EMERGENCY HIGH TEMPERATURE REAR DOOR OPENING | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| POWER DISTRIBUTION MODULE | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| 1 U SMART RACK MONITORING SYSTEM INTEGRATED WITH SMS, EMAIL - 1 NO. | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| TEMPERATURE SENSOR | 2 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| TEMPERATURE AND HUMIDITY SENSOR | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| WLD SENSOR CABLE | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| RODENT REPELLENT SYSTEM | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| 7” HMI DISPLAY | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| LED LIGHT, 12V LOGIC CONTROL | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| NORMAL LIGHTS WITH DOOR LIMIT SWITCH | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| BEACON ALARM, 12V, 108DB | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| BLANKING PANEL 1U | 20 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| MOUNTING HARDWARE PACK OF 20 | 4 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| SMOKE DETECTOR | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
| FULL TRAY | 1 | EA |  | Single Rack | Configuration 2 | Price not supplied in source
801401701 | PAC, 3.5KW INVERTER RACK MNT ATM ID | 1 | EA | 49288.0787 | Single Rack | Configuration 2 | Priced
801401702 | PAC, 3.5KW INVERTER RACK MNT ATM OD | 1 | EA | 82460.4915 | Single Rack | Configuration 2 | Priced
801401703 | PAC, 3.5/7KW INVERTER RACK MNT ATM HMI | 1 | EA | 19527.0241 | Single Rack | Configuration 2 | Priced
CTO3M002 | SINGLE RACK MDC, 7kW Cooling Unit, Without Dehumidifier | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
801029209 | MDC,42U 8*14 1R,INRACK7KW,EFSS | 1 | EA | 309736.1296 | Single Rack | Configuration 3 | Priced
| FRAME,42U-800X1200X2100 Front Glass Door , and rear sheet steel dual Spilt Door | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| FRONT DOOR WITH ELECTRONIC HANDLE WITH BIOMETRIC LOCK | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| REAR ELECTRONIC LOCK WITH EMERGENCY HIGH TEMPERATURE REAR DOOR OPENING | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| POWER DISTRIBUTION MODULE | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| 1 U SMART RACK MONITORING SYSTEM INTEGRATED WITH SMS, EMAIL - 1 NO. | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| TEMPERATURE SENSOR | 2 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| TEMPERATURE AND HUMIDITY SENSOR | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| WLD SENSOR CABLE | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| RODENT REPELLENT SYSTEM | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| 7” HMI DISPLAY | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| LED LIGHT, 12V LOGIC CONTROL | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| NORMAL LIGHTS WITH DOOR LIMIT SWITCH | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| BEACON ALARM, 12V, 108DB | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| BLANKING PANEL 1U | 20 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| MOUNTING HARDWARE PACK OF 20 | 4 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| SMOKE DETECTOR | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
| FULL TRAY | 1 | EA |  | Single Rack | Configuration 3 | Price not supplied in source
801401727 | PAC, 7KW INVERTER RACK MNT WF ID | 1 | EA | 60873 | Single Rack | Configuration 3 | Priced
801401728 | PAC, 7KW INVERTER RACK MNT WF OD | 1 | EA | 73542 | Single Rack | Configuration 3 | Priced
801401746 | PAC, 7KW INV RACK MNT WF CONTROLLER | 1 | EA | 43260 | Single Rack | Configuration 3 | Priced
CTO3M002 | SINGLE RACK MDC, 7kW Cooling Unit, Dehumidifier | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
801029209 | MDC,42U 8*14 1R,INRACK7KW,EFSS | 1 | EA | 309736.1296 | Single Rack | Configuration 4 | Priced
801029209 | FRAME,42U-800X1200X2100 Front Glass Door , and rear sheet steel dual Spilt Door | 1 | EA | 309736.1296 | Single Rack | Configuration 4 | Priced
| FRONT DOOR WITH ELECTRONIC HANDLE WITH BIOMETRIC LOCK | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| REAR ELECTRONIC LOCK WITH EMERGENCY HIGH TEMPERATURE REAR DOOR OPENING | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| POWER DISTRIBUTION MODULE | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| 1 U SMART RACK MONITORING SYSTEM INTEGRATED WITH SMS, EMAIL - 1 NO. | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| TEMPERATURE SENSOR | 2 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| TEMPERATURE AND HUMIDITY SENSOR | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| WLD SENSOR CABLE | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| RODENT REPELLENT SYSTEM | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| 7” HMI DISPLAY | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| LED LIGHT, 12V LOGIC CONTROL | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| NORMAL LIGHTS WITH DOOR LIMIT SWITCH | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| BEACON ALARM, 12V, 108DB | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| BLANKING PANEL 1U | 20 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| MOUNTING HARDWARE PACK OF 20 | 4 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| SMOKE DETECTOR | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
| FULL TRAY | 1 | EA |  | Single Rack | Configuration 4 | Price not supplied in source
801401707 | PAC, 8.6KW INV RACK MNT ATM S-007KAH | 1 | EA | 178684.0037 | Single Rack | Configuration 4 | Priced
801401708 | PAC, 12KW INV RACK MNT ATM OD KSF12AC | 1 | EA | 131395.6747 | Single Rack | Configuration 4 | Priced
801401703 | PAC, 3.5/7KW INVERTER RACK MNT ATM HMI | 1 | EA | 19527.0241 | Single Rack | Configuration 4 | Priced

## Accessories
Part Code | Description | Default Quantity | UOM | Unit Cost | Pricing Status
801073203 | FIRE SUPR EXT42U 8X14,1 RACK SOLN (EXTERNAL TYPE) | 1 | EA | 173050 | Priced
HRD-XH1C | FIRE SUPPRESS,RACK MNT FK-5-1-12,1.5m³ | 1 | EA | 175484.75 | Priced
801303201 | CAMERA,4MP VANDAL(CP-UNC-VC41L5C-VMD-LQ) | 1 | EA | 5198 | Priced
801303202 | CAMERA,NVR 4 CHA INT(CP-UNR-4K4082-V4) | 1 | EA | 4410 | Priced
801303204 | CAMERA,POE GB 4P,2UP(CP-DNW-GPU4G2-48C) | 1 | EA | 2940 | Priced
801303206 | CAMERA,CAT 5 CABLE RJ45 TER | 1 | EA | 57.2 | Priced
801303208 | CAMERA,SVR HDD 1TB | 1 | EA | 7384 | Priced
801303203 | CAMERA,SVR HDD 4TB | 1 | EA | 8610 | Priced
801223664 | Rotating Keyboard tray | 1 | EA | 2920.4 | Priced
801075237 | 1 U CABLE MANAGER PLASTIC | 1 | EA | 396.34 | Priced
801029022 | MDC,42U TOP CABLE TRAY IT | 1 | EA | 6832.4907 | Priced
801075235 | BRUSH PANEL 1 U | 1 | EA | 1147.3 | Priced

## PDUs
Part Code | Description | C13 | C19 | Type | UOM | Unit Cost | Pricing Status
802001004 | B-PDU,ZU 20,32A 1P IEC309 20,0 230/230V | 20 | 0 | BASIC | EA | 5726.07 | Priced
802001005 | B-PDU,ZU 30,32A 1P IEC309 24,6 230/230V | 24 | 6 |  | EA | 7160.195 | Priced
802001006 | B-PDU,ZU 42,32A 1P IEC309 36,6 230/230V | 36 | 6 |  | EA | 8286.635 | Priced
802001014 | B-PDU,ZU 12,16A 1P IEC309 9,3 230/230V | 9 | 3 |  | EA | 4350 | Priced
802002003 | M-PDU,ZU 24,16A 1P IEC309 20,4 230/230V | 20 | 4 | METERED | EA | 17140.662 | Priced
802002005 | M-PDU,ZU 24,32A 1P IEC309 20,4 230/230V | 20 | 4 |  | EA | 17933.342 | Priced
802002006 | M-PDU,ZU 34,32A 1P IEC309 28,6 230/230V | 28 | 6 |  | EA | 19635.518 | Priced
802002007 | M-PDU,ZU 42,32A 1P IEC309 36,6 230/230V | 36 | 6 |  | EA | 20885.032 | Priced
802002012 | M-PDU,ZU 34,32A 1P IEC309 28,6 230/230 W | 28 | 6 |  | EA | 20296.78 | Priced
801601216 | S-PDU ,ZU42,32A 1P IEC309 36,6 230/230V | 36 | 6 | SWITCHED | EA | 51061 | Priced
802003002 | S-PDU,ZU 16,16A 1P C20 12,4 230/230V | 12 | 4 |  | EA | 25881.002 | Priced
802003004 | S-PDU,ZU 24,16A 1P IEC309 20,4 230/230V | 20 | 4 |  | EA | 31328.591 | Priced
802003006 | S-PDU,ZU 24,32A 1P IEC309 20,4 230/400V | 20 | 4 |  | EA | 32578.105 | Priced
802003007 | S-PDU,ZU 32,32A 1P IEC309 24,8 230/230V | 24 | 8 |  | EA | 37568.86 | Priced
802003008 | S-PDU,ZU 44,32A 1P IEC309 34,6 230/230V | 34 | 6 |  | EA | 39093.885 | Priced